## Slide 2: Mortality following coronary obstruction
Ribiero et al JACC 2013
Most present with immediate shock (68%)
* Despite 82% PCI success
30-day Mortality
Presented by A Greenbaum, SHDS 2018

## Slide 3: Predicting coronary obstruction is complicated
Dvir et al. Circ Cardiovasc Int 2015 Blanke et al. JCCT 2016
Presented by A Greenbaum, SHDS 2018

## Slide 4: VTC for patients <4mm
Khan… Lederman JACC Int 2018
Ribiero et al Eur Heart J 2018
Presented by A Greenbaum, SHDS 2018

## Slide 6: BASILICA
Presented by A Greenbaum, SHDS 2018

## Slide 7
First animal experiment
First in human case
Satellite broadcast of live case
46 patients treated in 9 centers
Jun 29 2017
July 17 2017
Nov 2 2017
June 18 2018
Translation to clinical care
BASILICA
Presented by A Greenbaum, SHDS 2018

## Slide 11: Case
83F
Asthma/HTN/PPM
2000 AVR Freestyle #23
  Prolonged post op course
  Reoperation for bleeding
  Slow rehabilitation
2018 recurrent CHF
  NYHA III
  Failing AVR with severe AI/global LV dysfunction/ RVSP 55 mm Hg
Assessed by two surgical centres as high/prohibitive risk for redo
  Patient herself declined redo SAVR
  DNR – no ICU, no prolonged intubation

## Slide 12: CT measurements
Annulus
  Area 335mm2 Perimeter 64.2 mm. Diameters (20.4-20.6mm)
Sinus diameters 24-26 mm
Coronary Heights
  LCA 7.5, RCA 12 mm
VTC (assuming 20 mm annulus diameter)
  LCA 3.5 RCA 3.0
STJ diameter 25.5 mm
STJ Height 16.5 mm

## Slide 13: Pre MDCT, MPR image Leaflets extend above both coronary ostium

## Slide 14: Evolut PRO/ Evolut R Patient Selection
Aortic Root Criteria
Size | 23 mm | 26 mm | 29 mm | 34 mm
Annulus Diameter | 18 – 20 mm | 20 – 23 mm | 23 – 26 mm | 26 - 30 mm
Annulus Perimeter (π x Diameter) | 56.5 – 62.8 mm | 62.8 – 72.3 mm | 72.3 – 81.7 mm | 81.7 – 94.2 mm
Sinus of Valsalva Diameter (Mean) | ≥ 25 mm | ≥ 27 mm | ≥ 29 mm | ≥ 31 mm
Sinus of Valsalva Height (Mean) | ≥ 15 mm |  |  | ≥ 16 mm
Evolut R TAV
Evolut R/PRO TAV
Valve Size Selection

## Slide 15: BASILICA Basics

## Slide 16: Pre coronary, aorta, leg angiograms

## Slide 17: VTSTJ/ VTC for SapeinS3 23mm
LCA VTC 1.5
RCA VTC 1.5

## Slide 18: VTSTJ/ VTC for SapeinS320mm
LCA VTC 3.5
RCA VTC 3.0

## Slide 19: Angiogram
Access;
Rt: 18Fr Gore
Lt: 8Fr,6Fr double puncture

## Slide 20: Pre LCC Side/Front view
-AL3.5 8Fr guiding catheter -25mm Snare guide in 6Fr MP
LAO 37 CRA 36
Usually start with higher risk coronary cusp first
RAO 25 CAU 33

## Slide 21: Traverse catheter positioning
-AL3.5 8Fr guiding catheter+ 5FR JR4.0 120cm, AstatoXS20mm 300cm, Piggyback

## Slide 22: Pachyderm Shaped Dedicated Guides
J Lisko, TVT 2019

## Slide 23: LCC traversal, wire snaring
Traverse with 30W

## Slide 24: LCC injection -good center and deep traversal

## Slide 25: Pre RCC Side/Front view
LAO 2 CAU 10
RAO 40 CAU 33

## Slide 26: Traverse catheter positioning
-MB1 8Fr guiding catheter+ 5FR JR4.0 120cm, AstatoXS20mm 300cm, Piggyback

## Slide 27: RCC traversal, wire snaring
Traverse with 30W

## Slide 28: Bring V shape
Double V shape

## Slide 29: Lt->Rt leaflet laceration with 50W

## Slide 30
Presented by A Greenbaum,
SHDS 2018

## Slide 31: THV implantation

## Slide 35: High vs Deep implant

## Slide 36: Tough Lessons Learned
SWEAT THE DETAILS
Attention to THV structure/dimensions
  Skirt!
  3D modelling?
Attention to depth
?Consider commissural alignment possibilities
Release in:
  ‘ideal position’
  AND
  ‘ideal imaging angle’

## Slide 37
IMPLANTATION TECHNIQUE